## Slide 1
Wastewater Treatment Plant - Facilities Plan
SERP Public Participation Meeting
City of Ferndale

## Slide 2
AGENDA
SERP PUBLIC MEETING
I. Project Overview
  II. Discussion of Environmental Impacts
  III. Discussion of Alternatives, Costs, and Rate Impacts
  IV. Public Comment Opportunities

## Slide 3
DISCUSSION – PART I.
I. Project Overview
    Project Description
    Funding
    SERP – State Environmental Review Process

## Slide 4
Project Description – Existing Conditions
FERNDALE WWTP
Last Major Upgrade in 1999
Existing Plant Capacity:
  95% - ADF
  80% - MMWWF
Condition & Reliability
Age & Life Expectancy
Notes: \

## Slide 5
Project Description – Proposed Improvements
Proven Treatment Technology
Small Footprint fits within Existing
Low Capital and O&M Costs

## Slide 6
Proposed Funding Method
Funding: Anticipate Washington Department of Ecology
State Revolving Funds (SRF Grant and Loan Program). Funding applications are due Sept. - Oct. 2017. Funds available after July 1, 2018.
SERP: State Environmental Review Process.
This includes: SEPA, Public Meeting, and Cost Effectiveness Analysis.

## Slide 7
DISCUSSION – PART II
Discussion of Environmental Impacts
    Cultural Resources Review
    Wetlands Assessment
    SEPA Review (including floodplain and shoreline impacts)

## Slide 8
Project Discussion – Environmental Impacts

## Slide 9
DISCUSSION – PART III
    Discussion of Alternatives, Costs, and Rate Impacts
    a. Alternatives
    b. Cost Comparison
            Capital Costs
            Operation & Maintenance Costs – Life-Cycle
        c. Nonmonetary Considerations
        d. Rate Impacts

## Slide 10
Alternatives
EVALUATION
Treatment Effectiveness
Operations Requirements
Physical Size
Cost – Capital and Operations
Selected Process
Notes: Advantages and disadvantages of each alternative

## Slide 11
Project Description – Proposed Aeration Basins
Aeration Basin
Utilize Existing Basins As Much As Possible
Robust Extended Air Process
Fine Bubble Diffusers
Notes: \

## Slide 12
Project Description – Proposed Clarifier Technology
Suction Style Clarifier
Viewable RAS Return System
Central Feed Configuration
Easy to Remove Drive System
Notes: \

## Slide 13
Nonmonetary Considerations
Proven Treatment Technology
Straight Forward Process
Flexible Layout

## Slide 14
Future Expansion Considerations
Room for Future Expansion
FUTURE AERATION BASIN
FUTURE CLARIFIER
FUTURE UV EQUIPMENT

## Slide 15
Cost Comparison
Process Alternatives | Equipment Cost | Construction Cost | TOTAL | Annual O&M Cost | 20 Year Life Cycle Cost
SBR | $3,577,000 | $16,881,431 | $20,458,431 | $1,167,103 | $53,926,848
MBR | $9,441,000 | $22,904,283 | $32,345,283 | $1,622,728 | $78,879,420
Oxidation Ditch | $2,790,000 | $18,200,160 | $20,990,160 | $846,743 | $45,271,782
Biotreater Process | $3,117,000 | $19,402,336 | $22,519,336 | $1,241,575 | $58,123,357
Extended Aeration | $3,171,000 | $14,611,519 | $17,782,519 | $760,117 | $39,580,003

## Slide 16
DISCUSSION – PART IV
    IV. Public Comment Opportunities
    a. Comments at Meeting
    b. Written Comments Regarding Meeting Tonight Please provide comments in next two weeks. Deadline = July 31, 2017
    c. SEPA
    - Advertised on June 28, 2017 and July 5, 2017